## DeviceStatusCheckRequest
DACS Controllable Device Status Check Outbound Message Outbound Msg BO: X1-CtrlDvcStatusCheckOBMsg (JSON format) |  |  | DERMS Service Name: NMS-DACSInbound OperationId: enroll (JSON Format) |  |  | DVM Lookup | Comments
Element Name | Parent Element | Type | Element Name | Parent Element | Type
sendDetails |  | Group
communicationId | sendDetails | Field | dacsMessageId |  | Field |  | Unique Identifier of the message
deviceInfo | sendDetails | Group | deviceInfo |  | Group
division | deviceInfo | Field | division | deviceInfo | Field
deviceType | deviceInfo | Field | deviceType | deviceInfo | Field
nicid | deviceInfo | Field | nicId | deviceInfo | Field |  | The controllable device's Network Identification Card (NIC) ID
headEndSystem | deviceInfo | Field | headEndSystem | deviceInfo | Field |  | Head end systems handles the communication with controllable devices. Head end system, along with the NIC Id, is used to uniquely identify the device.
specification | deviceInfo | Field | specification | deviceInfo | Field |  | Specification associated with the controllable device. The specification can include the manufacturer, model and other information specified for the device or asset.
DACS |  |  | ConnectivityProperties |  |  | DVM | Comments
Plugin
sendDetails/locationInfo/division |  |  | ConnectionId |  |  | OUTL-BRT-DACS_DRMS_Routing | If DERMS have multiple instances, this dvm will route the message to the correct DERMS instance base on the DACS Diviison.